Stanley Hall Building Manual

Prepared by Patrick Inacio, Stanley Hall Building Manager, QB3

(Revised 5/18/07)

STANLEY HALL FACILITIES SUPPORT

General Requests:

A web-based system is under construction. For now, please e-mail all requests to patricki@berkeley.edu. Or, for non-emergency requests, you may call 666-2666. If no one is available, leave a message with the location, issue, requestor name, and phone number.

SAFETY AND ACCESS

Emergency Requests: If there is a life-threatening emergency, dial 911. For Facilities Emergency Issues (such as burst pipes or a condition where significant damage to the facility or personal injury may result) call 666-2666 or 326-0496. Please make sure to reach someone. (If you cannot get a response from either of these numbers, please call the Physical Plant at 642-1032).

Room Reservation System: QB3 has an online room reservation system (http://www.qb3.org/stanleyreserve.htm), which supports all conference rooms (except Room 808) and the Multimedia Room. Requests for the General Assignment Classrooms, Conference Room 808, or other specialty areas should be emailed to: patricki@berkeley.edu with date and time, event and contact information.

Conditional Occupancy: Stanley Hall is under conditional occupancy at this time due to some lingering issues. Please make all staff members are aware of the following items and adhere to them:

- The 8th floor is closed at this time. Please do not enter that floor until work is completed.

- The 4th and 7th floor terraces are off limits until work on them is completed.

- Any work requiring the disabling of smoke detectors must be requested through the building manager.

- Tenant improvement projects must not involve storing materials or equipment in the corridors or stairwells.

- Fire doors must not be propped open unless designed to be held open by the magnetic hold open devices.

- Special events or operations are required to be approved by the Campus Fire Marshal (Send requests to .

- No combustibles or furniture are allowed inside the at Levels B1, 1, 2, and 3.

Building Access: Stanley Hall is mainly a research facility. We do have three general assignment classrooms for use by the Registrar’s Office during the school year, beginning in fall 2007. The main entry door will be open Monday through Friday 7 AM to 6 PM. Other entry doors will be accessible by card key only. All building occupants must have either a CalID or another UCPD issued card key (for non-UC employees) to be able to gain access to the building during off-business hours. Some rooms are also on card key access. UCPD does not allow metal key overrides to be issued for doors on the card key systemso for those areas, card keys are required.

These are the rooms/areas with card key access:

- Exterior Doors

- Bike Storage Room – Rm 159

- Rad Waste Room – Rm 161

- Medical Waster Room – Rm 163

- NMR Suite – B304

- Crystallography Suite – Rm 331

- Server Room – 260M

- Server Room – 324N

- BNC Area – Level 1 (east side)

- Stockroom – Rm 156

Metal keys will be issued for all other areas. Stanley Hall is the first building on campus to be on the InstaKey System. Most staff will receive two keys:

  - Lab or Office Key

  - Common Area Key (which opens)

    - Liquid Nitrogen Area – Rm 170 (at  loading dock)

    - Conference Rooms

    - Workrooms on your floor

    - Equipment Rooms

    - Instrument Rooms

    - Mailroom – Rm 176

Doors with closers should not be propped open unless they have been equipped with magnetic door devices to keep them open. These doors are fire rated and must remain in the closed position in case of an emergency per the California Fire Code. Also, lab fume hoods rely are certain air pressures to work properly. Propping doors open will change the air pressure balance of the rooms making the hoods less effective, or ineffective.

Protection of equipment and personal valuables: Many people both on and off campus have an interest in walking through Stanley Hall at this time. UCPD reports that most crimes on campus happen between 1 PM and 5 PM, Monday through Friday because the criminals can more easily blend in with the crowds of people or “hide in plain sight.” Securing all your valuables and not leaving areas unsecured will help prevent theft. Please make sure that doors close securely behind you and do not prop doors open, especially in unoccupied areas. Do not invite criminals in!

Other ways to prevent theft:

- Do not open doors for people you do not know. Ask to which lab or office they belong. Or, inform them you will let the Facilities Office (Room 174) know that they need access.

- Do not label keys with the area or room numbers they operate.

- Report any lost keys or card keys immediately. Card keys can be turned off in minutes, preventing their use.

- Do not leave keys or card keys lying around, especially in public areas.

- Turn in any keys found to the Facilities Office.

- Do not loan keys to anyone.

- Make sure to collect keys from all departing students or employees. All keys must be returned to the Facilities Office immediately upon departure. Do not keep these keys as spares.

Lighting Control System: All building lights are on either a movement sensor or an automatic timer.

- The movement sensor will shut off lights in most offices when it does not sense movement. Sometimes working at a desk is not enough movement and the system will shut off, but will come back the next time it senses movement. These lights can be manually turned off as well.

- The automatic timer will shut off lights as scheduled. It is set up with a warning that will blink once then shut off five minutes later. If you need to stay later than the timer is set, wait until the warning light blinks, then dial 2-3040 or 6-2773 on your phone, wait for the tone, then enter the room number in the area where you wish to keep the lights on followed by a 1 then a # symbol. Do not use the suffix when entering room numbers – i.e., if the room is 101G, do not include a number for the G, just enter 1011#. For rooms on level B1, B2 or B3, use a 2 to signify the B, followed by the 3-digit room number, then the 1 and the #. For example, for Room B207, type in 22071#. This will override the system for two hours. You can do this as many times as you need, but note that the two hours starts from when the first call is made. Calling back immediately a second time will not add four hours.

Safety is everyone’s business. For assistance or questions, please contact Thom Opal (666-3307 or opal@berkeley.edu).

PURCHASING

Requests for purchases should be made through the web at http://purchasingqb3.berkeley.edu/buy/selectLab.php. For additional instructions on setting up your account to request supplies, contact Gail Phillips, 666-2736.

Liquid Nitrogen Filling Stations: Stanley Hall is equipped with three Liquid Nitrogen Filling Stations. The two located in the NMR rooms are specific to those labs. The main filling station is located in Room 170 at the loading dock on the first floor at the northwest corner of the building. The common area key signed out to each occupant will provide access to this area.  The filling station can supporteither open top or closed dewars. There is an incline going down into the room so caution should be taken when entering and exiting.

Dry Ice (sign-out required) is available in the Stockroom, Room 156. Please contact Jono Caniezo (jcaniezo@berkeley.edu) if you have any questions.

CUSTODIAL SERVICES

PPCS Custodial Services is providing general building services at this time. Here are suggestions for maintaining your regular service:

- Do not leave trash or containers in the hallway. The hallways should be clear at all times in case of an emergency. This includes all stairwells or any exit area.

- Do not use non-PPCS garbage bags. PPCS requires the use of black, beige, brown, or gray garbage bags. PPCS will not remove trash in clear, red, or orange bags.

- Do no put needles in trash or leave them on floor. Needles must be put into a “sharps container.” If custodial workers see a needle on the ground or in the garbage, they will not service the area.

- In the labs custodial workers will not service unknown items spilled on the floor. For their safety, if they see a powder, paste, or liquid on the floor of a wet lab, the workers will not service the area unless they know the material is non-hazardous.

- Chemical containers are only to be placed in trash if:

  - The container is triple rinsed.

  - The container is defaced, either by the label being torn off or by having a large black “X” marked on it.

  - They are dry.

- Follow these guidelines for disposal of clean, broken glass by custodial staff

  - Glass cannot be placed in regular trash cans.

  - Box must be totally closed and sealed with tape.

  - Box cannot have any crack opening or holes.

  - Box cannot have any wet spots.

  - Box cannot have any objects sticking out.

  - Box should be in a manageable condition (not heavy, should be sturdy).

  - Box must be labeled “Broken Glass.”

  - Please also mark the box “Trash, Please Remove.” The Custodial staff will then pick it up and properly dispose of it.

- Send special clean-up requests to patricki@berkeley.edu.

OTHER BUILDING FEATURES AND INFORMATION

Vending Machines are located in Room B135. This room is on the north side of the building by Stairwell 1.

Bicycles should not be kept in labs or offices. Stanley Hall is equipped with a bicycle storage room for day use by occupants. It is on card key entry, and access must be requested through Patrick Inacio (patricki@berkeley.edu) There are also bicycle racks on the west side of the building for locking up bikes outside.

Postings may not be taped to walls. Stanley Hall has white boards or chalk boards with cork boards, in all the elevator lobbies. Postings having to do with QB3 or meeting and scientific announcements may be hung in those areas. Any items taped to walls will be removed.